**SAS 500 / 550 end an­cho­r­a­ge with an­chor pie­ce**

Rein­for­cing cou­pling sys­tem

Con­sis­ting of:
1 an­chor pie­ce (T2073), 1 lock nut (T2040), 1 saw tip,
1x lo­cking/screwing
SAS 500 / 550 sys­tem ac­cor­ding to ap­pro­val no. Z-1.1-58, Z-1.5-174, Z-1.1-106, Z-1.5-173. Ma­nu­fac­tu­rer: Stahl­werk Anna­hütte, D-83404 Ham­merau
In­stal­la­ti­on as spe­ci­fied by the struc­tu­ral en­gi­neer.

Dia­me­ter of the rein­force­ment: \_\_\_\_\_\_\_mm