**SAS 500 / 550 con­tact cou­pler**  
  
Rein­for­cing cou­pling sys­tem to con­nect two com­pres­si­on bars   
  
Con­sis­ting of:  
1 con­tact cou­pler (T3006), 1 saw tip  
SAS 500 / 550 sys­tem ac­cor­ding to ap­pro­val no. Z-1.1-58, Z-1.5-174, Z-1.1-106, Z-1.5-173. Ma­nu­fac­tu­rer: Stahl­werk Anna­hütte, D-83404 Ham­merau  
In­stal­la­ti­on as spe­ci­fied by the struc­tu­ral en­gi­neer.  
  
Dia­me­ter of the rein­force­ment: \_\_\_\_\_\_\_mm